| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| ZWT65 | 2 1/2" | 70-200 | 12-18 | 3-10 | parabola or radial |
| ZWT50 | 2" | 70-200 | 6-8 | 3-8 |  |
| ZWT40 | 1 1/2" | 70-150 | 4-6 | 3-8 |  |
| ZWT25 | 1" | 50-150 | 3-4 | 3-8 |  |
| ZWT20 | 3/4"(valve) | 50-150 | 1.5-3 | 1-8 |  |
| ZWT15 | 1/2"(valve) | 50-150 | 0.5-1.5 | 1-6 |  |
| ZWT10 | 3/8"(valve) | 50-150 | 0.1-1.0 | 1-4 |  |
| ZWT8 | 1/4"(valve) | 50-150 | 0.1-0.5 | 1-3 |  |
| ZWT6 | 1/8"(valve) | 30-80 | 0.05-0.4 | 1-2 |  |

HIGH QUALITY SS304 AND BRASS FOUNTAIN NOZZLE - NEW!

HIGH QAULITY BRASS, BRASS CHROME AND SS304 FOUNTAIN NOZZLES SERIES

Thickness Single Nozzle Shooting (some with valve)

Penembakan Nozzle Tunggal Tebal (beberapa dengan katup)

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| CJqT50 | 2" | 150-250 | 28-35 | 2-6M | / |
| CJqT40 | 1-1/2" | 150-250 | 18-25 | 2-5M |  |
| CJqT25 | 1" | 100-200 | 8-15.0 | 1.5-4.0 |  |
| CJqT20 | 3/4" | 80-150 | 4-9.0 | 1-3.0 |  |
| CJqT15 | 1/2" | 80-150 | 2-4.0 | 0.5-2.0 |  |

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| SshT50-S | 2" | 70 | 18 | 3 | 2.8 |
| SshT40-S | 1-1/2" | 60 | 15 | 2.8 | 2.5 |
| SshT25-S | 1" | 50 | 8 | 2.2 | 2.2 |
| SshT20-S | 3/4" | 50 | 5 | 1.8 | 1.5 |
| SshT15-S | 1/2" | 50 | 3 | 1.2 | 1 |

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| SshT50-B | 2" | 70 | 18 | 3 | 2.8 |
| SshT40-B | 1-1/2" | 60 | 15 | 2.8 | 2.5 |
| SshT25-B | 1" | 50 | 8 | 2.2 | 2.2 |

Big Fixed Blossom Nozzle

Bunga Tetap Besar Nozzle

Small Fixed Blossom Nozzle

Bunga Tetap Kecil Nozzle

Frothy Nozzle

Berbusa Nozzle

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| ZJT65 | 2 1/2" | 150-280 | 40-55 | 6-10 | 0.8-1.5 |
| ZJT50 | 2" | 150-280 | 30-45 | 5-9 | 0.6-0.8 |
| ZJT40 | 1 1/2" | 150-280 | 20-35 | 5-7 | 0.5-0.6 |
| ZJT25 | 1" | 100-250 | 10-15 | 3-5 | 0.3-0.5 |
| ZJB80 | 3" | 150-280 | 50-65 | 5-9 | 0.8-1.5 |
| ZJB65 | 2 1/2" | 150-280 | 30-45 | 5-9 | 0.6-0.8 |
| ZJB50 | 2" | 150-280 | 20-35 | 5-7 | 0.5-0.6 |
| ZJB40 | 1 1/2" | 100-250 | 10-15 | 3-5 | 0.3-0.5 |

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| SKsT50 | 2“ | 70 | 22 | 3.5 | 2.8 |
| SKsT40 | 1 1/2” | 60 | 18 | 3.0 | 2.5 |
| SKsT25 | 1“ | 50 | 12 | 2.5 | 2.3 |

Ajustable Blossom Nozzle

Blossom yang Dapat Disesuaikan Nozzle

Concertrating Shooting Nozzle

Berkonsentrasi Menembak Nozzle

Zjb

ZJT

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| SXnT40 | 1 1/2“ | 80-150 | 8-10 | 2-4 | 1.5-2.5 |
| SXnT25 | 1” | 80-150 | 4-6 | 1-3 | 1-1.5 |
| SXnT20 | 3/4“ | 50-80 | 2-3 | 0.8-1 | 0.6-0.8 |
| SXnT15 | 1/2” | 50-80 | 2 | 0.8-1 | 0.5 |

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| SFwT40 | 1 1/2" | 50-150 | 7-10 | 2-4 | parabola |
| SFwT25 | 1" | 50-150 | 5-8 | 2-3 |  |
| SFwT20 | 3/4" | 50-150 | 2-4 | 2-3 |  |

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| SYyB40 (NO VALVE) | 1 1/2" | 50-100 | 2.0-3.0 | 0.7-2 | 1-2.3 |
| SYyB25 (NO VALVE) | 1" | 50-100 | 1.0-1.5 | 0.5-1.5 | 0.8-1.5 |

Phoenix Tale Nozzle

Kisah Phoenix Nozzle

Silver Tassel Nozzle (without valve)

Perak Rumbai Nozzle (tanpa katup)

Pirouette

Nozzle

Putaran Nozzle

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| CBtT80 | 3" | 80-450 | 55-65 | 1-12 | 1-1.5 |
| CBtT65 | 2 1/2" | 80-450 | 55-65 | 1-12 | 1-1.5 |
| CBtT50 | 2" | 80-400 | 35-45 | 1-10 | 0.8-1.0 |
| CBtT40 | 1 1/2" | 50-300 | 20-35 | 1-8 | 0.5-0.6 |
| CBtT32 | 1 1/4" |  |  |  |  |
| CBtT25 | 1" | 40-200 | 8-12 | 1-5 | 0.2-0.3 |
| CBtT20 | 3/4" | 40-100 | 3-5 | 1-3 | 0.2 |
| CBtT15 | 1/2" | 40-100 | 2-4 | 1-3 | 0.15 |

| Model | Connections | Pressure (Kpa) |
| --- | --- | --- |
| SFcT40 | 1 1/2" | 80-150 |
| SFcT25 | 1" | 80-150 |

| Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- |
| 5-8 | 1.5-3 | 1.5-2 |
| 4-5 | 1.5-2 | 1-1.5 |

Ice Tower Nozzle

Menara Es Nozzle

Rotating Nozzle

Berputar Nozzle

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| CGPT80 | 3" | 100-120 | 40-60 | 1-1.2 | 0.8-1.0 |
| CGPT65 | 2 1/2" | 80-100 | 30-40 | 0.5-1.0 | 0.6-0.9 |
| CGPT50 | 2" | 60-100 | 20-25 | 0.4-0.8 | 0.3-0.8 |
| CGPT40 | 1 1/2" | 50-80 | 13-20 | 0.4-0.8 | 0.3-0.6 |
| CGPT25 | 1" | 50-80 | 5-10 | 0.3-0.5 | 0.2-0.4 |
| CGPT20 | 3/4" | 50-80 | 3-6 | 0.2-0.4 | 0.15-0.3 |
| CGPT15 | 1/2" | 50-80 | 2-3 | 0.15-0.3 | 0.1-0.2 |

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| WBtT80 | 3" | 80-450 | 55-65 | 1-12 | 1-1.5 |
| WBtT65 | 2 1/2" | 80-450 | 55-65 | 1-12 | 1-1.5 |
| WBtT50 | 2" | 80-400 | 35-45 | 1-10 | 0.8-1.0 |
| WBtT40 | 1 1/2" | 50-300 | 20-35 | 1-8 | 0.5-0.6 |
| WBtT25 | 1" | 40-200 | 8-12 | 1-5 | 0.2-0.3 |
| WBtT20 | 3/4" | 40-100 | 3-5 | 1-3 | 0.2 |

Adjustable Ice Tower Nozzle

Menara Es yang Dapat Disesuaikan Nozzle

Foam Nozzle

Busa Nozzle

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| CYZB40 | 1 1/2" | 150-280 | 15-18 | 2-10 | straight or parabola |
| CYZB25 | 1" | 120-200 | 8-3 | 2-8 |  |
| CYZB20 | 3/4" | 100-150 | 4-6 | 1.5-5 |  |
| CYZB15 | 1/2" | 80-150 | 2-5 | 1-3 |  |

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| CCqB50 | 2" | 80-250 | 20-25 | 2-12 | 0.6-1.2 |
| CCqB40 | 1 1/2" | 80-200 | 15-18 | 2-7 | 0.6-1.0 |
| CCqB25 | 1" | 60-200 | 8-15 | 1.5-5.5 | 0.5-0.8 |
| CCqB20 | 3/4" | 60-150 | 6-8 | 0.5-4 | 0.3-0.5 |
| CCqB15 | 1/2" | 60-150 | 6-8 | 0.5-4 | 0.3-0.5 |

Big Air Mixed Trumpet Jet

Jet Trumpet Campuran Udara Besar Nozzle

Small Air Mixed Trumpet Jet

Jet Trumpet Campuran Udara Kecil Nozzle

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| MSxT50 | 2" | 40-100 | 18-30 | 0.6-1.3 | 1.0-2.2 |
| MSxT40 | 1 1/2" | 40-100 | 16-28 | 0.5-1.0 | 0.8-1.5 |
| MSxT25 | 1" | 40-100 | 8-15 | 0.3-0.8 | 0.6-1.2 |
| MSxT20 | 3/4" | 60 | 3-4 | 0.2-0.6 | 0.4-0.8 |

| Model | Connections | Pressure (Kpa) |
| --- | --- | --- |
| MlbB50 | 2" | 60-80 |
| MlbB40 | 1 1/2" | 40-60 |
| MlbB25 | 1" | 40-60 |
| MlbB20 | 3/4" | 30-40 |
| MlbB15 | 1/2" | 30-40 |

| Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- |
| 8 | 0.60 | 1.3 |
| 5 | 0.40 | 1.0 |
| 3 | 0.33 | 0.6 |
| 2 | 0.28 | 0.5 |
| 1 | 0.28 | 0.3 |

Fan Nozzle

Kipas Nozzle

Trumpet Nozzle

Terompet Nozzle

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| MMgB100 | 4" | 680MM H |  |  |  |
| MMgB80 | 3" | 600MM H |  |  |  |
| MMgB60 | 2.5" | 500MM H |  |  |  |
| MMgB50 | 2" | 40-80 | 6 | 0.50 | 1.2 |
| MMgB40 | 1 1/2" | 40-60 | 3 | 0.40 | 1.0 |
| MMgB25 | 1" | 40-60 | 2 | 0.33 | 0.6 |
| MMgB20 | 3/4" | 30-40 | 1.5 | 0.28 | 0.5 |
| MMgB15 | 1/2" | 30-40 | 1 | 0.28 | 0.3 |

| Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- |
| 65 | 2.3 | 2.0 |
| 48 | 2.0 | 1.8 |
| 25 | 1.8 | 1.2 |
| 18 | 1.5 | 0.8 |
| 15 | 1.0 | 0.6 |

| Model | Connec ons | Pressure (Kpa) |
| --- | --- | --- |
| QJB80 | 3“ | 100-150 |
| QJB65 | 2 1/2” | 100-150 |
| QJB50 | 2“ | 100-150 |
| QJB40 | 1 1/2” | 80-100 |
| QJB40 | 1 1/2“ | 80-100 |

Mushroom Nozzle

Jamur Nozzle

Crystall Ball Nozzle

Bola kristal Nozzle

| Model | Connections | Pressure (Kpa) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- |
| ZCGT150 | 6" | 650-820 | 20-30 | 1.5-2.3 |
| ZCGT100 | 4" | 380-500 | 15-25 | 1-1.5 |

| Model | Connections | Pressure (Kpa) |
| --- | --- | --- |
| QJbB80 | 3“ | 80-100 |
| QJbB65 | 2 1/2” | 80-100 |
| QJbB50 | 2“ | 80-100 |
| QJbB40 | 1 1/2” | 80-100 |
| QJbB40 | 1 1/2“ | 60-80 |

| Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- |
| 35 | 1.2 | 2.0 |
| 25 | 1.0 | 1.8 |
| 15 | 0.8 | 1.0 |
| 10 | 0.7 | 0.8 |
| 8 | 0.5 | 0.6 |

| ZCGT100 | 4" | 380-500 | 15-25 | 1-1.5 |
| --- | --- | --- | --- | --- |
| ZCGT80 | 3" | 300-380 | 15-25 | 0.8-1.2 |

Hemisphere

Crystal Nozzle

Hemisphere Crystal Nozzle

Extral- High Spray Nozzle

Nozzle Semprot Ekstra Tinggi

| Model | Connections | Pressure (Kpa) | Discharg 3 e(m /h) | Height (m) | Diameter (m) |
| --- | --- | --- | --- | --- | --- |
| FRIbB40 | 1 1/2" | 50-100 | 3-8 | 1-2.5 | 1.0 |
| FRIbB25 | 1" | 50-100 | 3-5 | 0.8-1.8 | 0.6 |
| FRIbB20 | 3/4" | 50-80 | 2-3 | 0.6-1.5 | 0.5 |

| FYgB40 | 1 1/2" | 50-150 | 6-8 | 1-2.5 | 1-2.5 |
| --- | --- | --- | --- | --- | --- |
| FYgB25 | 1" | 50-150 | 2-6 | 0.8-2 | 1-2 |
| FYgB15 | 1/2" | 50-80 | 1.5-2.5 | 0.6-1.5 | 1-0.8 |

| FDgB40 | 1 1/2" | 50-100 | 4-8 | 0.8-1.2 | with valve |
| --- | --- | --- | --- | --- | --- |
| FDgB25 | 1" | 50-100 | 3-4 | 0.6-1.0 | without valve |
| FDgB20 | 3/4" | 50-80 | 2-3 | 0.6-1.5 | without valve |

| FDyyB40 | 1 1/2" | 50-100 | 6-8 | 1-2.5 | 1.2 |
| --- | --- | --- | --- | --- | --- |
| FDyyB25 | 1" | 50-100 | 3-5 | 0.8-2 | 0.8 |

| FRdyB40 | 1 1/2" | 50-100 | 6-8 | 1-3.5 | 1.3 |
| --- | --- | --- | --- | --- | --- |
| FRdyB25 | 1" | 50-100 | 3-5 | 0.8-2.2 | 0.8 |

| FGyB40 | 1 1/2" | 50-100 | 6-8 | 1-2 | 1.0 |
| --- | --- | --- | --- | --- | --- |
| FGyB25 | 1" | 50-100 | 3-5 | 0.8-1.5 | 0.8 |

Blossom-1

Blossom-2

Blossom-3

Blossom-4

Blossom-5

Blossom-6

| Model | Connections | Diameter (m) |
| --- | --- | --- |
| TByB80 | 3" CUP FOAM NOZZLES, | SS304 |
| TByB65 | 2 1/2" CUP FOAM NOZZLES, | SS304 |
| TByB50 | 2" CUP FOAM NOZZLE, | SS304 |
| TByB40 | 1 1/2" CU+P FOAM NOZZLES, | SS304 |
| TByB25 | 1" CUP FOAM NOZZLES, | SS304 |
| TByB20 | 3/4" CUP FOAM NOZZLES, | SS304 |
| TByB15 | 1/2" CUP FOAM NOZZLES, | SS304 |

| Connections | Pressure (Kpa) | Height (m) | Diameter (m) |
| --- | --- | --- | --- |
| 5" | 380-500 | 15-25 | 1-1.5 |

| Model | Connections |
| --- | --- |
| TXLT40 | 1 1/2" |
| TXLT25 | 1" |

CUP FOAM NOZZLE-SS304

Adjustable Supper Extra-High Spray Nozzle

Nozzle Semprot Super Ekstra-Tinggi Dapat Disesuaikan

Rotating Single

Nozzle Shooting

memutar penembakan

nozzle tunggal

HIGH QAULITY BRASS, BRASS CHROME AND SS304 FOUNTAIN NOZZLES - NEW SERIES

| Model | Connections |
| --- | --- |
| YCSM200 | DN200 |
| YCSM150 | DN150 |
| YCSM120 | 6" S.S304 water curtain fountains, discharge 30-60m3/h,water spray |
| YCSM100 | 4" S.S304 water curtain fountains, discharge 30-60m3/h,water spray |
| YCSM80 | 3" S.S304 water curtain fountains, discharge 20-40m3/h,water spray |
| YCSM50 | 2" S.S304 water curtain |
| SWB25 | 1" |
| SWB20 | 3/4" |
| SWB15 | 1/2" |

| Model | Connections |
| --- | --- |
| TPmB25-A | 1" CHAMPAGNE FOAM NOZZLES, SS304+plastic core |
| TPmB25-B | 1" CHAMPAGNE FOAM NOZZLES, SS304+SS304 core |
| TPmB40 | 1.5" CHAMPAGNE FOAM NOZZLES, SS304+SS304 |

| Model | Connections |
| --- | --- |
| DN25 | 1"One-dimensional(180 Swing) Digital Control Nozzle,SS304,size:DN25,DN25=1"=32MM, without control |
| DN40 | 1.5"One-dimensional(180o Swing) Digital Control Nozzle,SS304,size:DN40, without control |

| Model | Connections |
| --- | --- |
| DN25 | 1"2-dimensional(360 Swing) Digital Control Nozzle,SS304,size:DN25,DN25=1"=32MM, without control |
| DN40 | 1.5"2-dimensional(360 Swing) Digital Control Nozzle,SS304,size:DN40, without control |

| Model | Connections |
| --- | --- |
| TEXT40 | 1 1/2" EUROPEAN ROTATION NOZZLE,Brass-Chrome |
| TEXT25 | 1 " EUROPEAN ROTATION NOZZLE,Brass-Chrome |

HIGH QUALITY SS304 AND BRASS FOUNTAIN NOZZLE - NEW!

CHAMPAGNE FOAM NOZZLES

NOZZLES BUSA FOAM

EUROPEAN ROTATION NOZZLES

NOZZLES ROTASI EROPA

1-D DIGITAL NOZZLES	NOZZLES DIGITAL 1-D

2-D DIGITAL NOZZLES

NOZZLES DIGITAL 2-D

WATER CURTAIN FOUNTAINS

FOG NOZZLES

YCSM	SWB

FOUNTAIN TIRAI AIR

KABUT NOZZLE

| Model | Connections |
| --- | --- |
| 1/2" | 1/2", 4 TIER NOZZLE,brass |
| 3/4" | 3/4", 4 TIER NOZZLE,brass |
| 1" | 1", 4 TIER NOZZLE,brass |
| 1.5" | 1.5", 4 TIER NOZZLE,brass |
| 2" | 2", 4 TIER NOZZLE,brass |

| Model | Connections |
| --- | --- |
| DN40-S | 1.5"SS 304 ADJUSTABLE FAN NOZZLE,SMALL |
| DN40-B | 1.5"SS 304 ADJUSTABLE FAN NOZZLE,BIG8m3/hour ow rate |

| Model | Connections |
| --- | --- |
| ¾" | HIGH UQALITY SS304 ADJUST FAN NOZZLE |
| 1" | HIGH UQALITY SS304 ADJUST FAN NOZZLE |
| 1.5" | HIGH UQALITY SS304 ADJUST FAN NOZZLE |

| Model | Connections |
| --- | --- |
| 1-1/2" | 1.5", 3 TIER NOZZLE,brass |
| 2" | 2", 3 TIER NOZZLE,brass |

| Model | Connections |
| --- | --- |
| 1-1/2" | 1.5"NEW DESIGN ADJUST BLOSSOM NOZZLE |

DN40-S

DN40-B

SS 304 ADJUSTABLE FAN NOZZLE

SS 304 KIPAS KABEL DISESUAIKAN NOZZLE

3 TIER NOZZLE-

SEPENUHNYA KUNINGAN

KUALITAS TINGGI

3 TIER NOZZLE-

FULLY HIGH

QUALITY BRASS

HIGH

UQALITY

SS304 ADJUST

FAN NOZZLE

KUALITAS TINGGI

MENYESUAIKAN

KIPAS FAN

NEW DESIGN

ADJUST

BLOSSOM

NOZZLE

MENYESUAIKAN

BLOSSOM NOZZLE

4 TIER NOZZLE-

SEPENUHNYA KUNINGAN

KUALITAS TINGGI

4 TIER NOZZLE-

FULLY HIGH

QUALITY BRASS

| Model | specication |
| --- | --- |
| BG5002 | low pipe dia:DN32,built-in 3x3W RGB LED underwater lights,ow rate:5m³/h,performance:8-10m,water requiremet:pool water standard, Water Outlet Port Dia:12-16mm optional (outdoor no wind require,spay high:1.5-1.8m,span:1.5-2.2m,indoor:spay high:1.8- 2.0m,span:1.8-2.5m),0.55KW PUMP,DELIVER HEAD12M |

| Model | specication |
| --- | --- |
| BG5003 | NEW DESIGN SMALL LAMINAR JET ,S.S.304, WATER SPRAY SPAN:2M, WATER SPRAY HIGH:1.5M, OUTLET DIA.:14MM, BUILT-IN 3X3W RGB LED, 4- WIRE OUTPUT OR DMX512 OPTIONAL,WATER FLOW RATE:4M3/H, PUMP POWER:350KW,DELIVER HEAD:8M |

| Model | specication |
| --- | --- |
| 1.5" | Double Phoenix Tales Nozzle, mady by order,1.5"connection,fully brass |
| 2" | Double Phoenix Tales Nozzle, mady by order,2"connection,fully brass |

| Model | specication |
| --- | --- |
| 3" | Special brass nozzle, mady by order,3"connection |

SS304 LAMINAR JET

SS304 LAMINAR JET

NEW DESIGN

BRASS DOUBLE

PHOENIX TALES

NOZZLE

TALES PHOENIX

GANDA KUNINGAN

NEW DESIGN

BRASS DOUBLE

PHOENIX TALES

TALES PHOENIX

GANDA KUNINGAN

NEW DESIGN

SS304 WATER

CURTAIN

Tirai Air

specication

Water curtain nozzle,200MM*1.5"

Water curtain nozzle,400MM*2”

Water curtain nozzle,600MM*2"

Water curtain nozzle,800MM*2.5"

BRASS BALL

JOINT

ball joint

kuningan

specication

2" BRASS BALL JOINT MALE-FE MALE

1 1/2BRASS BALL JOINT MALE-FE MALE

1" BRASS BALL JOINT MALE-FEMALE

3/4" BRASS BALL JOINT MALE-FE MALE

1/2" BRASS BALL JOINT MALE-FE MALE

HIGH QAULITY SS304 LAMINAR JETS

| Model | specication |
| --- | --- |
| BG5001 | ow pipe dia:DN40,built-in 3x1W high power LED underwater lights,ow rate:6-7m³/h,performance:10- 13m,water requiremet:pool water standard, Water Outlet Port Dia:16-22mm optional (outdoor no wind require,spay high:2.0-2.3m,span:3.0-4.0m,indoor:spay high:2.1-2.8m,span:4.0-5.0m),,0.55KW |

| Model | specication |
| --- | --- |
| TQBG6001 | PUMP,DELIVER HEAD12M 1. 3x3W RGB light(built in transformer). 2.Stepper motor 3. 10m cable for jumping jet control, and 10m cable foer light control. 4:CUTTER,Water Outlet Port Dia:16-22mm optional (outdoor no wind require,spay high:2.0-2.3m,span:3.0- 4.0m,indoor:spay high:2.1-2.8m,span:4.0- 5.0m),,0.55KW PUMP,DELIVER HEAD12M |

| Model | specication |
| --- | --- |
| TQBG6002 | including 1. 3x3W RGB light(built in transformer). 2.Stepper motor 3. 10m cable for jumping jet control, and 10m cable foer light control. 4:CUTTER, Water Outlet Port Dia:12-16mm optional ,(outdoor no wind require,spay high:1.5-1.8m,span:1.5- 2.2m,indoor:spay high:1.8-2.0m,span:1.8-2.5m),,0.55KW |

| Model | specication |
| --- | --- |
| BG5004 | PUMP,DELIVER HEAD12M NEW DESIGN BALL NOZLE,S.S.304,WATER SPRAY HIGH:1.5-1.8M OR 1.5-2.2M,W A TER SPRAY SPAN:1.5-2.2M OR 3-4M.DELIVER HEAD12M |

SS304 JUMPING JETS MELOMPAT JET

SS304 LAMINAR JET

SS304

LAMINAR JET